Sensor solutions for predictive maintenance of wind turbines and generators

Precision sensor technologies are not only proving their value during the production and testing of wind turbines, but also in the real time condition monitoring of operationally active onshore and offshore wind farms, says Chris Jones, Managing Director of Micro-Epsilon UK.

A range of unpredictable events such as lightning, stormy weather and rough seas can have serious consequences on a wind turbine, potentially resulting in defective rotor blades, tower movements or, in the worst case scenario, complete failure or collapse of the wind turbine. This is why wind turbines require 24/7 monitoring.

The rotor towers of wind turbines weigh dozens of tonnes. Their average rotor diameter is now 110 metres, with average hub heights now 130 metres. If such equipment fails, a high financial cost is incurred. Cranes and other machines are typically unavailable at short notice. Offshore wind farms, in particular, are not easily accessible at any time of day or night. Due to wear and the complexity of assets, in addition to environmental influences, there are also a number of possible problems such as shaft issues, gear faults, gear wheel wear, material fatigue, imbalance, temperature differences, lubrication faults and bearing clearances, which do not only impede smooth operation but might also involve other subsequent or secondary damage.

Predictive Maintenance plays an essential role here. Proactive monitoring based on precision sensor technology has already begun to be used in the production process of wind turbines and continues in test rigs and in the real-time monitoring of turbines during operation. Worn parts or deviations in production can now be recognised before catastrophic damage occurs. Therefore, it is possible to intervene long before the parts fail or tools begin to wear out. Not only can current asset conditions be documented, but trends and changes in measurement data can be analysed and evaluated. Maintenance becomes predictable and sudden failure or downtime of these large plants is reduced to a minimum.

Innovative sensor solutions are now available that enable reliable measurements and targeted evaluation of critical data. This sensor technology helps customers by preventing repairs, reducing failures, reducing costs and helping to predict maintenance cycles. Compared to manual inspection where differences can depend on a person’s tiredness and changing mood, sensors can provide high precision, reliable, repeatable measurement results 24/7, 365 days per year.

### Offset measurement of the coupling ring

Above 100m, huge wind loads act on the rotor blades, housing and tower. Therefore, gearbox and generator have an elastic bearing. This is why couplings in wind turbines must balance the relative movement of the gearbox and generator. When measuring the offset of the coupling ring, non-contact eddy current displacement sensors can be used to determine the distance, while measuring onto the metallic coupling ring. This leads to the determination of the load profile. Monitoring the measured values is required in order to avoid unnecessary wear of couplings, bearings and shaft seals or, in extreme cases, serious damage to the wind turbine. Eddy current sensors allow measurements to be carried out in different directions – in the axial, radial and tangential axes. Some suppliers offer temperature-compensated versions that provide high measurement stability, even in strongly fluctuating ambient temperatures. The sensors are factory-calibrated for ferromagnetic and non-ferromagnetic materials, which eliminates the need for field calibration of the sensor. Compared to inductive switches and sensors, eddy current sensors provide a higher bandwidth and so are suitable for precise detection of high speed movements.

### Gap measurements in bearings

Hydrostatic bearings are used in wind turbines. The task is to monitor the gap size between the bearing surface and the shaft. In the lubricating gap is an oil film, which prevents direct contact between the bearing surface and the shaft. In the case of a malfunction in the hydraulics, the oil pressure can rise and, in extreme cases, the gap will close. This would lead to damage of the bearing and in turn to a possible turbine failure. Therefore, our sensor is mounted horizontally to the bearing shoe. It measures through the oil film and the plant bearing directly onto the shaft. Here, non-contact eddy current displacement sensors can be used, which are robust, compact and have an integral controller. As well as offering excellent resistance to high pressures, lubricants and extreme temperatures, these sensors also enable rapid commissioning and can be retrofitted to existing wind turbines.

### Air gap generator monitoring

With very large generators and electric motors, it’s important to determine the radial run out of the rotor inside the motor compared to the stator. Due to imbalances during operation, which could be due to wear caused by extreme wind and weather conditions, the rotor might touch the stator, which could lead to catastrophic failure. Therefore, non-contact optical and capacitive sensors are used to measure the distance between the stator and rotor and to monitor the rotor gap whilst the motor is running. Non-contact capacitive sensors provide long-term stability, reliability and temperature stability.

During air gap monitoring in a wind turbine generator, the average temperature is 120°C. Some suppliers such as Micro-Epsilon offer capacitive sensors that are specially adapted to measurements in a generator. They are resistant to vibration and are protected by a special housing. Their unique triaxial design enables flush installation into electrically conductive materials as the guard ring electrode and grounding are also located on the front edge of the sensor alongside the measurement electrode.

### Gearbox temperature

The gearbox temperature is measured during operation. Heating up of gearbox components may indicate a potential problem with a component. Subsequent remedial action can be started or maintenance planned.

### Air flaps

In order to control air supply, the air flaps automatically open and close depending on the temperature. Draw-wire displacement sensors are able to monitor the position of the open air flap.

### Supporting moments of the nacelle

In order to monitor the supporting moments, eddy current displacement sensors measure the distance between the wind turbine nacelle and the tower, which enables early recognition of any fluctuations.

### Foundations

Non-contact laser triangulation sensors are ideal for measuring the distance between the tower and the foundation. High measuring rates enable the sensors to detect any changes reliably. Depending on the number of sensors installed, detailed evaluations about the vibration behaviour of the mast can be determined.

### Test rigs for measuring rotor stress

Test rigs have been developed for load tests on wind turbine rotor blades, which simulate the real loads caused by high winds and extreme weather conditions. The tip of the rotor blade can be distorted by up to 10 metres due to mechanical loads. Draw-wire sensors are mounted on these test rigs for measuring this distortion. Two sensors per traction point measure the deflection and torsion of the rotor blade. The draw-wire sensors operate with measuring ranges between 3m and 10m. The digital signal output is provided for further simulation and analyses.

– ENDS – [1,134 words]

Note to Editors: Micro-Epsilon (www.micro-epsilon.co.uk) is a major global manufacturer of sensors, headquartered in Germany. The company’s range of displacement sensors measure everything from to distance, position, vibration, dimensions and thickness, using both contact and non-contact measurement techniques. These techniques include 1D, 2D and even 3D laser-optical sensors and systems, eddy-current, capacitive, LVDT & inductive, potentiometric and draw-wire principles.  In addition, Micro Epsilon has developed its own range of non-contact infrared temperature sensors that can measure virtually any target temperature from -40 to +3,300°C. The company also manufactures a comprehensive range of colour recognition sensors.

With more than 50 years’ experience in the industry, Micro-Epsilon isn’t just a sensor manufacturer. The company is highly innovative and understands the importance of providing complete solutions and support services for its customers. The firm is renowned for its expertise in consulting, development and application of industrial sensors to complex, customer-specific solutions for measurement, inspection and automation. The focus is on selling technical advantage to its customers.

To download high resolution images for this article, please go to www.silverbulletpr.co.uk/press . Alternatively, you can request an image by contacting:

Issued by:			Dean Palmer

Director

SilverBullet PR Ltd

19, Glen Crescent, Stamford,

Lincolnshire PE9 1SW

Tel: 01780 764 254

Mobile: 07703 023771

Email: dean@silverbulletpr.co.uk

Reader Enquiries/Advertising:
Jenny Croft,

Sales & Marketing Executive, 
Micro-Epsilon UK Ltd

1, Shorelines Building,
Shore Road
Birkenhead
Cheshire CH41 1AU
Tel: +44 (0) 151 355 6070
Fax: +44(0) 151 355 6075

Email: jenny.croft@micro-epsilon.co.uk

# Text boxes

#### Ref. ME334								                                    16th April 2019